Simulink parameters:

Solar side:

| Category | Parameter | Value |
| --- | --- | --- |
| Array | Parallel strings | 44 |
| Array | Series modules/string | 18 |
| Module | Pmax (W) | 214.65 |
| Module | Voc (V) | 36.3 |
| Module | Isc (A) | 7.84 |
| Module | Vmp (V) | 29 |
| Module | Imp (A) | 7.4017 |
| Module | Cells/module | 60 |
| Temp Coeff | dVoc/dT (%/°C) | –0.36099 |
| Temp Coeff | dIsc/dT (%/°C) | 0.102 |
| Model | IL (A) | 7.9095 |
| Model | I0 (A) | 2.9374e-10 |
| Model | Ideality factor | 0.98114 |
| Model | Rsh (Ω) | 294.02 |
| Model | Rs (Ω) | 0.3914 |

Wind side:

| Parameter | Value |
| --- | --- |
| Stator Resistance (Ohm) | 0.0485 |
| Armature Inductance (H) | 0.000395 |
| Flux Linkage (V.s) | 1.2 |
| Pole Pairs | 4 |
| Inertia (kg.m²) | 0.0027 |
| Nominal Power (W) | 300,000 |
| Base Wind Speed (m/s) | 12 |
| Max Power (pu) | 0.73 |

Boost converter side:

| Filter at solar side L C | 0.0093e-3 880e-6 |
| --- | --- |
| Filter at wind side R L C | 1.524 0.1e-3 880e-6 |
| Switching frequency | 15e3HZ |

EVFC side:

| Parameter | Value |
| --- | --- |
| Nominal Voltage (V) | 480 |
| Rated Capacity (Ah) | 100 |
| Initial State-of-Charge (%) | 60 |
| Battery Response Time (s) | 0.001 |
| Switching frequency | 20e3 |
| Filter Capacitance | 1000e-6 |
| BDC Resistance inductance | 5.1 100e-3 |
| Kpv, kiv | -5, -0.0005 |
| Kpi, kii | 5, 0.0005 |

Grid side

| Voltage | 400 |
| --- | --- |
| Frequency | 50 |
| Filter resistance inductance | 2.088 0.01e-3 |

Dstatcom side:

| Filter resistance inductance Capacitance | 0.1 1e-3 220e-6 |
| --- | --- |
| Dc voltage regulation Kp | 5 |
| Current regulation kpc kic | 800 1200 |
| Switching frequency | 20e3 |

Inverter side

| Filter inductance | 20e-3 |
| --- | --- |
| DC voltage regulation Kpd kid | 1 500 |
| Current regulation (Id, iq side) kpi kii | 0.5 200 |
| Switching frequency | 20e3 |